## Instruction
Instructions for analyzing GeneRead Library Quant Kit or Array (Illumina) results with this file:
Generally, only change data in yellow or orange cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
1. Raw data worksheet: Copy and Paste the CT values from the real-time PCR instrument runs of your experimental samples to the yellow section of the "Raw data" worksheet starting at cell B2.
2. Sample library dilution: Input your sample library dilution fold (in orange) if you use different dilution fold other than recommended ones in handbook.
3. Library size: Input your library size (in orange).This will be used for size adjustment to account for the difference in size between sample library and the DNA standard (426 bp amplicon).
4. QC report: All NTC should be more than 29. Slope should be within –3.1 to –3.6. Standard deviation for triplicates should be <0.4.
5. Results: Final library concentrations (in pM) are displayed, from which you can calculate the dilution fold to dilute your original libraries for cluster generation.
6. Calculations: To view the formulas and equations used to calculate the QC data and results, you may review but not alter the "Calculations" worksheet.
.

## Raw data
Well | raw CT
A01 | 11.2
A02 | 11.2
A03 | 14.5
A04 | 14.5
A05 | 14.5
A06 | 14.5
A07 | 14.5
A08 | 14.5
A09 | 14.5
A10 | 14.5
A11 | 14.5
A12 | 14.5
A13 | 14.5
A14 | 14.5
A15 | 14.5
A16 | 14.5
A17 | 14.5
A18 | 14.5
A19 | 14.5
A20 | 14.5
A21 | 14.5
A22 | 14.5
A23 | 14.5
A24 | 14.5
B01 | 11.2
B02 | 11.2
B03 | 14.5
B04 | 14.5
B05 | 14.5
B06 | 14.5
B07 | 14.5
B08 | 14.5
B09 | 14.5
B10 | 14.5
B11 | 14.5
B12 | 14.5
B13 | 14.5
B14 | 14.5
B15 | 14.5
B16 | 14.5
B17 | 14.5
B18 | 14.5
B19 | 14.5
B20 | 14.5
B21 | 14.5
B22 | 14.5
B23 | 14.5
B24 | 14.5
C01 | 14.5
C02 | 14.5
C03 | 17.8
C04 | 17.8
C05 | 17.8
C06 | 17.8
C07 | 17.8
C08 | 17.8
C09 | 17.8
C10 | 17.8
C11 | 17.8
C12 | 17.8
C13 | 17.8
C14 | 17.8
C15 | 17.8
C16 | 17.8
C17 | 17.8
C18 | 17.8
C19 | 17.8
C20 | 17.8
C21 | 17.8
C22 | 17.8
C23 | 17.8
C24 | 17.8
D01 | 14.5
D02 | 14.5
D03 | 17.8
D04 | 17.8
D05 | 17.8
D06 | 17.8
D07 | 17.8
D08 | 17.8
D09 | 17.8
D10 | 17.8
D11 | 17.8
D12 | 17.8
D13 | 17.8
D14 | 17.8
D15 | 17.8
D16 | 17.8
D17 | 17.8
D18 | 17.8
D19 | 17.8
D20 | 17.8
D21 | 17.8
D22 | 17.8
D23 | 17.8
D24 | 17.8
E01 | 17.8
E02 | 17.8
E03 | 14.5
E04 | 14.5
E05 | 14.5
E06 | 14.5
E07 | 14.5
E08 | 14.5
E09 | 14.5
E10 | 14.5
E11 | 14.5
E12 | 14.5
E13 | 14.5
E14 | 14.5
E15 | 14.5
E16 | 14.5
E17 | 14.5
E18 | 14.5
E19 | 14.5
E20 | 14.5
E21 | 14.5
E22 | 14.5
E23 | 14.5
E24 | 14.5
F01 | 17.8
F02 | 17.8
F03 | 14.5
F04 | 14.5
F05 | 14.5
F06 | 14.5
F07 | 14.5
F08 | 14.5
F09 | 14.5
F10 | 14.5
F11 | 14.5
F12 | 14.5
F13 | 14.5
F14 | 14.5
F15 | 14.5
F16 | 14.5
F17 | 14.5
F18 | 14.5
F19 | 14.5
F20 | 14.5
F21 | 14.5
F22 | 14.5
F23 | 14.5
F24 | 14.5
G01 | 21.1
G02 | 21.2
G03 | 17.8
G04 | 17.8
G05 | 17.8
G06 | 17.8
G07 | 17.8
G08 | 17.8
G09 | 17.8
G10 | 17.8
G11 | 17.8
G12 | 17.8
G13 | 17.8
G14 | 17.8
G15 | 17.8
G16 | 17.8
G17 | 17.8
G18 | 17.8
G19 | 17.8
G20 | 17.8
G21 | 17.8
G22 | 17.8
G23 | 17.8
G24 | 17.8
H01 | 21.1
H02 | 21.2
H03 | 17.8
H04 | 17.8
H05 | 17.8
H06 | 17.8
H07 | 17.8
H08 | 17.8
H09 | 17.8
H10 | 17.8
H11 | 17.8
H12 | 17.8
H13 | 17.8
H14 | 17.8
H15 | 17.8
H16 | 17.8
H17 | 17.8
H18 | 17.8
H19 | 17.8
H20 | 17.8
H21 | 17.8
H22 | 17.8
H23 | 17.8
H24 | 17.8
I01 | 24.4
I02 | 24.5
I03 | 14.5
I04 | 14.5
I05 | 14.5
I06 | 14.5
I07 | 14.5
I08 | 14.5
I09 | 14.5
I10 | 14.5
I11 | 14.5
I12 | 14.5
I13 | 14.5
I14 | 14.5
I15 | 14.5
I16 | 14.5
I17 | 14.5
I18 | 14.5
I19 | 14.5
I20 | 14.5
I21 | 14.5
I22 | 14.5
I23 | 14.5
I24 | 14.5
J01 | 24.4
J02 | 24.5
J03 | 14.5
J04 | 14.5
J05 | 14.5
J06 | 14.5
J07 | 14.5
J08 | 14.5
J09 | 14.5
J10 | 14.5
J11 | 14.5
J12 | 14.5
J13 | 14.5
J14 | 14.5
J15 | 14.5
J16 | 14.5
J17 | 14.5
J18 | 14.5
J19 | 14.5
J20 | 14.5
J21 | 14.5
J22 | 14.5
J23 | 14.5
J24 | 14.5
K01 | undetermined
K02 | undetermined
K03 | 17.8
K04 | 17.8
K05 | 17.8
K06 | 17.8
K07 | 17.8
K08 | 17.8
K09 | 17.8
K10 | 17.8
K11 | 17.8
K12 | 17.8
K13 | 17.8
K14 | 17.8
K15 | 17.8
K16 | 17.8
K17 | 17.8
K18 | 17.8
K19 | 17.8
K20 | 17.8
K21 | 17.8
K22 | 17.8
K23 | 17.8
K24 | 17.8
L01 | undetermined
L02 | undetermined
L03 | 17.8
L04 | 17.8
L05 | 17.8
L06 | 17.8
L07 | 17.8
L08 | 17.8
L09 | 17.8
L10 | 17.8
L11 | 17.8
L12 | 17.8
L13 | 17.8
L14 | 17.8
L15 | 17.8
L16 | 17.8
L17 | 17.8
L18 | 17.8
L19 | 17.8
L20 | 17.8
L21 | 17.8
L22 | 17.8
L23 | 17.8
L24 | 17.8
M01 | 14.5
M02 | 14.5
M03 | 14.5
M04 | 14.5
M05 | 14.5
M06 | 14.5
M07 | 14.5
M08 | 14.5
M09 | 14.5
M10 | 14.5
M11 | 14.5
M12 | 14.5
M13 | 14.5
M14 | 14.5
M15 | 14.5
M16 | 14.5
M17 | 14.5
M18 | 14.5
M19 | 14.5
M20 | 14.5
M21 | 14.5
M22 | 14.5
M23 | 14.5
M24 | 14.5
N01 | 14.5
N02 | 14.5
N03 | 14.5
N04 | 14.5
N05 | 14.5
N06 | 14.5
N07 | 14.5
N08 | 14.5
N09 | 14.5
N10 | 14.5
N11 | 14.5
N12 | 14.5
N13 | 14.5
N14 | 14.5
N15 | 14.5
N16 | 14.5
N17 | 14.5
N18 | 14.5
N19 | 14.5
N20 | 14.5
N21 | 14.5
N22 | 14.5
N23 | 14.5
N24 | 14.5
O01 | 17.8
O02 | 17.8
O03 | 17.8
O04 | 17.8
O05 | 17.8
O06 | 17.8
O07 | 17.8
O08 | 17.8
O09 | 17.8
O10 | 17.8
O11 | 17.8
O12 | 17.8
O13 | 17.8
O14 | 17.8
O15 | 17.8
O16 | 17.8
O17 | 17.8
O18 | 17.8
O19 | 17.8
O20 | 17.8
O21 | 17.8
O22 | 17.8
O23 | 17.8
O24 | 17.8
P01 | 17.8
P02 | 17.8
P03 | 17.8
P04 | 17.8
P05 | 17.8
P06 | 17.8
P07 | 17.8
P08 | 17.8
P09 | 17.8
P10 | 17.8
P11 | 17.8
P12 | 17.8
P13 | 17.8
P14 | 17.8
P15 | 17.8
P16 | 17.8
P17 | 17.8
P18 | 17.8
P19 | 17.8
P20 | 17.8
P21 | 17.8
P22 | 17.8
P23 | 17.8
P24 | 17.8

## Sample library dilution
Well1 | Well2 | Well3 | Well4 | Sample name | Dilution Fold | X | pM
A01 | A02 | B01 | B02 | STD1 |  | 1.301 | 20
C01 | C02 | D01 | D02 | STD2 |  | 0.30103 | 2
E01 | E02 | F01 | F02 | STD3 |  | -0.69897 | 0.2
G01 | G02 | H01 | H02 | STD4 |  | -1.699 | 0.02
I01 | I02 | J01 | J02 | STD5 |  | -2.699 | 0.002
K01 | K02 | L01 | L02 | NTC
M01 | M02 | N01 | N02 | Library1 Dilution1 | 2000
O01 | O02 | P01 | P02 | Library1 Dilution2 | 20000
A03 | A04 | B03 | B04 | Library2 Dilution1 | 2000
C03 | C04 | D03 | D04 | Library2 Dilution2 | 20000
E03 | E04 | F03 | F04 | Library3 Dilution1 | 2000
G03 | G04 | H03 | H04 | Library3 Dilution2 | 20000
I03 | I04 | J03 | J04 | Library4 Dilution1 | 2000
K03 | K04 | L03 | L04 | Library4 Dilution2 | 20000
M03 | M04 | N03 | N04 | Library5 Dilution1 | 2000
O03 | O04 | P03 | P04 | Library5 Dilution2 | 20000
A05 | A06 | B05 | B06 | Library6 Dilution1 | 2000
C05 | C06 | D05 | D06 | Library6 Dilution2 | 20000
E05 | E06 | F05 | F06 | Library7 Dilution1 | 2000
G05 | G06 | H05 | H06 | Library7 Dilution2 | 20000
I05 | I06 | J05 | J06 | Library8 Dilution1 | 2000
K05 | K06 | L05 | L06 | Library8 Dilution2 | 20000
M05 | M06 | N05 | N06 | Library9 Dilution1 | 2000
O05 | O06 | P05 | P06 | Library9 Dilution2 | 20000
A07 | A08 | B07 | B08 | Library10 Dilution1 | 2000
C07 | C08 | D07 | D08 | Library10 Dilution2 | 20000
E07 | E08 | F07 | F08 | Library11 Dilution1 | 2000
G07 | G08 | H07 | H08 | Library11 Dilution2 | 20000
I07 | I08 | J07 | J08 | Library12 Dilution1 | 2000
K07 | K08 | L07 | L08 | Library12 Dilution2 | 20000
M07 | M08 | N07 | N08 | Library13 Dilution1 | 2000
O07 | O08 | P07 | P08 | Library13 Dilution2 | 20000
A09 | A10 | B09 | B10 | Library14 Dilution1 | 2000
C09 | C10 | D09 | D10 | Library14 Dilution2 | 20000
E09 | E10 | F09 | F10 | Library15 Dilution1 | 2000
G09 | G10 | H09 | H10 | Library15 Dilution2 | 20000
I09 | I10 | J09 | J10 | Library16 Dilution1 | 2000
K09 | K10 | L09 | L10 | Library16 Dilution2 | 20000
M09 | M10 | N09 | N10 | Library17 Dilution1 | 2000
O09 | O10 | P09 | P10 | Library17 Dilution2 | 20000
A11 | A12 | B11 | B12 | Library18 Dilution1 | 2000
C11 | C12 | D11 | D12 | Library18 Dilution2 | 20000
E11 | E12 | F11 | F12 | Library19 Dilution1 | 2000
G11 | G12 | H11 | H12 | Library19 Dilution2 | 20000
I11 | I12 | J11 | J12 | Library20 Dilution1 | 2000
K11 | K12 | L11 | L12 | Library20 Dilution2 | 20000
M11 | M12 | N11 | N12 | Library21 Dilution1 | 2000
O11 | O12 | P11 | P12 | Library21 Dilution2 | 20000
A13 | A14 | B13 | B14 | Library22 Dilution1 | 2000
C13 | C14 | D13 | D14 | Library22 Dilution2 | 20000
E13 | E14 | F13 | F14 | Library23 Dilution1 | 2000
G13 | G14 | H13 | H14 | Library23 Dilution2 | 20000
I13 | I14 | J13 | J14 | Library24 Dilution1 | 2000
K13 | K14 | L13 | L14 | Library24 Dilution2 | 20000
M13 | M14 | N13 | N14 | Library25 Dilution1 | 2000
O13 | O14 | P13 | P14 | Library25 Dilution2 | 20000
A15 | A16 | B15 | B16 | Library26 Dilution1 | 2000
C15 | C16 | D15 | D16 | Library26 Dilution2 | 20000
E15 | E16 | F15 | F16 | Library27 Dilution1 | 2000
G15 | G16 | H15 | H16 | Library27 Dilution2 | 20000
I15 | I16 | J15 | J16 | Library28 Dilution1 | 2000
K15 | K16 | L15 | L16 | Library28 Dilution2 | 20000
M15 | M16 | N15 | N16 | Library29 Dilution1 | 2000
O15 | O16 | P15 | P16 | Library29 Dilution2 | 20000
A17 | A18 | B17 | B18 | Library30 Dilution1 | 2000
C17 | C18 | D17 | D18 | Library30 Dilution2 | 20000
E17 | E18 | F17 | F18 | Library31 Dilution1 | 2000
G17 | G18 | H17 | H18 | Library31 Dilution2 | 20000
I17 | I18 | J17 | J18 | Library32 Dilution1 | 2000
K17 | K18 | L17 | L18 | Library32 Dilution2 | 20000
M17 | M18 | N17 | N18 | Library33 Dilution1 | 2000
O17 | O18 | P17 | P18 | Library33 Dilution2 | 20000
A19 | A20 | B19 | B20 | Library34 Dilution1 | 2000
C19 | C20 | D19 | D20 | Library34 Dilution2 | 20000
E19 | E20 | F19 | F20 | Library35 Dilution1 | 2000
G19 | G20 | H19 | H20 | Library35 Dilution2 | 20000
I19 | I20 | J19 | J20 | Library36 Dilution1 | 2000
K19 | K20 | L19 | L20 | Library36 Dilution2 | 20000
M19 | M20 | N19 | N20 | Library37 Dilution1 | 2000
O19 | O20 | P19 | P20 | Library37 Dilution2 | 20000
A21 | A22 | B21 | B22 | Library38 Dilution1 | 2000
C21 | C22 | D21 | D22 | Library38 Dilution2 | 20000
E21 | E22 | F21 | F22 | Library39 Dilution1 | 2000
G21 | G22 | H21 | H22 | Library39 Dilution2 | 20000
I21 | I22 | J21 | J22 | Library40 Dilution1 | 2000
K21 | K22 | L21 | L22 | Library40 Dilution2 | 20000
M21 | M22 | N21 | N22 | Library41 Dilution1 | 2000
O21 | O22 | P21 | P22 | Library41 Dilution2 | 20000
A23 | A24 | B23 | B24 | Library42 Dilution1 | 2000
C23 | C24 | D23 | D24 | Library42 Dilution2 | 20000
E23 | E24 | F23 | F24 | Library43 Dilution1 | 2000
G23 | G24 | H23 | H24 | Library43 Dilution2 | 20000
I23 | I24 | J23 | J24 | Library44 Dilution1 | 2000
K23 | K24 | L23 | L24 | Library44 Dilution2 | 20000
M23 | M24 | N23 | N24 | Library45 Dilution1 | 2000
O23 | O24 | P23 | P24 | Library45 Dilution2 | 20000

## Library size
Sample name | Library size
sample library 1 | 280
sample library 2 | 280
sample library 3 | 280
sample library 4 | 280
sample library 5 | 280
sample library 6 | 280
sample library 7 | 280
sample library 8 | 280
sample library 9 | 280
sample library 10 | 280
sample library 11 | 280
sample library 12 | 280
sample library 13 | 280
sample library 14 | 280
sample library 15 | 280
sample library 16 | 280
sample library 17 | 280
sample library 18 | 280
sample library 19 | 280
sample library 20 | 280
sample library 21 | 280
sample library 22 | 280
sample library 23 | 280
sample library 24 | 280
sample library 25 | 280
sample library 26 | 280
sample library 27 | 280
sample library 28 | 280
sample library 29 | 280
sample library 30 | 280
sample library 31 | 280
sample library 32 | 280
sample library 33 | 280
sample library 34 | 280
sample library 35 | 280
sample library 36 | 280
sample library 37 | 280
sample library 38 | 280
sample library 39 | 280
sample library 40 | 280
sample library 41 | 280
sample library 42 | 280
sample library 43 | 280
sample library 44 | 280
sample library 45 | 280

## QC report
[7 empty] | Well1 | Well2 | Well3 | Well4 | Sample name | Dilution fold | Value1 | Value2 | Value3 | Value4 | Ave Ct (Y) | STDEV
NTC QC | [6 empty] | A01 | A02 | B01 | B02 | STD1 |  | 11.2 | 11.2 | 11.2 | 11.2 | FALSE | 0
[7 empty] | C01 | C02 | D01 | D02 | STD2 |  | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
Well1 | Well2 | Well3 | Well4 | sample | Ave CT (Y) | Pass/Fail | E01 | E02 | F01 | F02 | STD3 |  | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
K01 | K02 | L01 | L02 | NTC | 40 | Pass | G01 | G02 | H01 | H02 | STD4 |  | 21.1 | 21.2 | 21.1 | 21.2 | 21.15 | 0.057735
[7 empty] | I01 | I02 | J01 | J02 | STD5 |  | 24.4 | 24.5 | 24.4 | 24.5 | 24.45 | 0.057735
[7 empty] | K01 | K02 | L01 | L02 | NTC |  | 40 | 40 | 40 | 40 | 40 | 0
Slope QC | [6 empty] | M01 | M02 | N01 | N02 | Library1 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O01 | O02 | P01 | P02 | Library1 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
| slope | intercept | RSQ | Efficiency | Pass/Fail |  | A03 | A04 | B03 | B04 | Library2 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
| -3.315 | 7.875 | 0.99999 | 1.0029 | Pass |  | C03 | C04 | D03 | D04 | Library2 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E03 | E04 | F03 | F04 | Library3 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G03 | G04 | H03 | H04 | Library3 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I03 | I04 | J03 | J04 | Library4 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K03 | K04 | L03 | L04 | Library4 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M03 | M04 | N03 | N04 | Library5 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O03 | O04 | P03 | P04 | Library5 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A05 | A06 | B05 | B06 | Library6 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C05 | C06 | D05 | D06 | Library6 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E05 | E06 | F05 | F06 | Library7 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G05 | G06 | H05 | H06 | Library7 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I05 | I06 | J05 | J06 | Library8 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K05 | K06 | L05 | L06 | Library8 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M05 | M06 | N05 | N06 | Library9 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O05 | O06 | P05 | P06 | Library9 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A07 | A08 | B07 | B08 | Library10 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C07 | C08 | D07 | D08 | Library10 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E07 | E08 | F07 | F08 | Library11 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G07 | G08 | H07 | H08 | Library11 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I07 | I08 | J07 | J08 | Library12 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K07 | K08 | L07 | L08 | Library12 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M07 | M08 | N07 | N08 | Library13 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O07 | O08 | P07 | P08 | Library13 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A09 | A10 | B09 | B10 | Library14 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C09 | C10 | D09 | D10 | Library14 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E09 | E10 | F09 | F10 | Library15 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G09 | G10 | H09 | H10 | Library15 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I09 | I10 | J09 | J10 | Library16 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K09 | K10 | L09 | L10 | Library16 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M09 | M10 | N09 | N10 | Library17 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O09 | O10 | P09 | P10 | Library17 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A11 | A12 | B11 | B12 | Library18 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C11 | C12 | D11 | D12 | Library18 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E11 | E12 | F11 | F12 | Library19 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G11 | G12 | H11 | H12 | Library19 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I11 | I12 | J11 | J12 | Library20 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K11 | K12 | L11 | L12 | Library20 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M11 | M12 | N11 | N12 | Library21 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O11 | O12 | P11 | P12 | Library21 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A13 | A14 | B13 | B14 | Library22 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C13 | C14 | D13 | D14 | Library22 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E13 | E14 | F13 | F14 | Library23 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G13 | G14 | H13 | H14 | Library23 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I13 | I14 | J13 | J14 | Library24 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K13 | K14 | L13 | L14 | Library24 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M13 | M14 | N13 | N14 | Library25 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O13 | O14 | P13 | P14 | Library25 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A15 | A16 | B15 | B16 | Library26 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C15 | C16 | D15 | D16 | Library26 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E15 | E16 | F15 | F16 | Library27 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G15 | G16 | H15 | H16 | Library27 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I15 | I16 | J15 | J16 | Library28 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K15 | K16 | L15 | L16 | Library28 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M15 | M16 | N15 | N16 | Library29 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O15 | O16 | P15 | P16 | Library29 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A17 | A18 | B17 | B18 | Library30 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C17 | C18 | D17 | D18 | Library30 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E17 | E18 | F17 | F18 | Library31 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G17 | G18 | H17 | H18 | Library31 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I17 | I18 | J17 | J18 | Library32 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K17 | K18 | L17 | L18 | Library32 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M17 | M18 | N17 | N18 | Library33 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O17 | O18 | P17 | P18 | Library33 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A19 | A20 | B19 | B20 | Library34 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C19 | C20 | D19 | D20 | Library34 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E19 | E20 | F19 | F20 | Library35 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G19 | G20 | H19 | H20 | Library35 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I19 | I20 | J19 | J20 | Library36 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K19 | K20 | L19 | L20 | Library36 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M19 | M20 | N19 | N20 | Library37 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O19 | O20 | P19 | P20 | Library37 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A21 | A22 | B21 | B22 | Library38 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C21 | C22 | D21 | D22 | Library38 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E21 | E22 | F21 | F22 | Library39 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G21 | G22 | H21 | H22 | Library39 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I21 | I22 | J21 | J22 | Library40 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K21 | K22 | L21 | L22 | Library40 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M21 | M22 | N21 | N22 | Library41 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O21 | O22 | P21 | P22 | Library41 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | A23 | A24 | B23 | B24 | Library42 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | C23 | C24 | D23 | D24 | Library42 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | E23 | E24 | F23 | F24 | Library43 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | G23 | G24 | H23 | H24 | Library43 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | I23 | I24 | J23 | J24 | Library44 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | K23 | K24 | L23 | L24 | Library44 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0
[7 empty] | M23 | M24 | N23 | N24 | Library45 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0
[7 empty] | O23 | O24 | P23 | P24 | Library45 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0

## Results
Well1 | Well2 | Well3 | Well4 | Sample name | pM | Ave CT (Y)
A01 | A02 | B01 | B02 | STD1 | 20 | FALSE
C01 | C02 | D01 | D02 | STD2 | 2 | 14.5
E01 | E02 | F01 | F02 | STD3 | 0.2 | 17.8
G01 | G02 | H01 | H02 | STD4 | 0.02 | 21.15
I01 | I02 | J01 | J02 | STD5 | 0.002 | 24.45
K01 | K02 | L01 | L02 |  |  | 40
M01 | M02 | N01 | N02 | Library1 Dilution1 | 6064.6471 | 14.5
O01 | O02 | P01 | P02 | Library1 Dilution2 | 6149.3559 | 17.8
A03 | A04 | B03 | B04 | Library2 Dilution1 | 6064.6471 | 14.5
C03 | C04 | D03 | D04 | Library2 Dilution2 | 6149.3559 | 17.8
E03 | E04 | F03 | F04 | Library3 Dilution1 | 6064.6471 | 14.5
G03 | G04 | H03 | H04 | Library3 Dilution2 | 6149.3559 | 17.8
I03 | I04 | J03 | J04 | Library4 Dilution1 | 6064.6471 | 14.5
K03 | K04 | L03 | L04 | Library4 Dilution2 | 6149.3559 | 17.8
M03 | M04 | N03 | N04 | Library5 Dilution1 | 6064.6471 | 14.5
O03 | O04 | P03 | P04 | Library5 Dilution2 | 6149.3559 | 17.8
A05 | A06 | B05 | B06 | Library6 Dilution1 | 6064.6471 | 14.5
C05 | C06 | D05 | D06 | Library6 Dilution2 | 6149.3559 | 17.8
E05 | E06 | F05 | F06 | Library7 Dilution1 | 6064.6471 | 14.5
G05 | G06 | H05 | H06 | Library7 Dilution2 | 6149.3559 | 17.8
I05 | I06 | J05 | J06 | Library8 Dilution1 | 6064.6471 | 14.5
K05 | K06 | L05 | L06 | Library8 Dilution2 | 6149.3559 | 17.8
M05 | M06 | N05 | N06 | Library9 Dilution1 | 6064.6471 | 14.5
O05 | O06 | P05 | P06 | Library9 Dilution2 | 6149.3559 | 17.8
A07 | A08 | B07 | B08 | Library10 Dilution1 | 6064.6471 | 14.5
C07 | C08 | D07 | D08 | Library10 Dilution2 | 6149.3559 | 17.8
E07 | E08 | F07 | F08 | Library11 Dilution1 | 6064.6471 | 14.5
G07 | G08 | H07 | H08 | Library11 Dilution2 | 6149.3559 | 17.8
I07 | I08 | J07 | J08 | Library12 Dilution1 | 6064.6471 | 14.5
K07 | K08 | L07 | L08 | Library12 Dilution2 | 6149.3559 | 17.8
M07 | M08 | N07 | N08 | Library13 Dilution1 | 6064.6471 | 14.5
O07 | O08 | P07 | P08 | Library13 Dilution2 | 6149.3559 | 17.8
A09 | A10 | B09 | B10 | Library14 Dilution1 | 6064.6471 | 14.5
C09 | C10 | D09 | D10 | Library14 Dilution2 | 6149.3559 | 17.8
E09 | E10 | F09 | F10 | Library15 Dilution1 | 6064.6471 | 14.5
G09 | G10 | H09 | H10 | Library15 Dilution2 | 6149.3559 | 17.8
I09 | I10 | J09 | J10 | Library16 Dilution1 | 6064.6471 | 14.5
K09 | K10 | L09 | L10 | Library16 Dilution2 | 6149.3559 | 17.8
M09 | M10 | N09 | N10 | Library17 Dilution1 | 6064.6471 | 14.5
O09 | O10 | P09 | P10 | Library17 Dilution2 | 6149.3559 | 17.8
A11 | A12 | B11 | B12 | Library18 Dilution1 | 6064.6471 | 14.5
C11 | C12 | D11 | D12 | Library18 Dilution2 | 6149.3559 | 17.8
E11 | E12 | F11 | F12 | Library19 Dilution1 | 6064.6471 | 14.5
G11 | G12 | H11 | H12 | Library19 Dilution2 | 6149.3559 | 17.8
I11 | I12 | J11 | J12 | Library20 Dilution1 | 6064.6471 | 14.5
K11 | K12 | L11 | L12 | Library20 Dilution2 | 6149.3559 | 17.8
M11 | M12 | N11 | N12 | Library21 Dilution1 | 6064.6471 | 14.5
O11 | O12 | P11 | P12 | Library21 Dilution2 | 6149.3559 | 17.8
A13 | A14 | B13 | B14 | Library22 Dilution1 | 6064.6471 | 14.5
C13 | C14 | D13 | D14 | Library22 Dilution2 | 6149.3559 | 17.8
E13 | E14 | F13 | F14 | Library23 Dilution1 | 6064.6471 | 14.5
G13 | G14 | H13 | H14 | Library23 Dilution2 | 6149.3559 | 17.8
I13 | I14 | J13 | J14 | Library24 Dilution1 | 6064.6471 | 14.5
K13 | K14 | L13 | L14 | Library24 Dilution2 | 6149.3559 | 17.8
M13 | M14 | N13 | N14 | Library25 Dilution1 | 6064.6471 | 14.5
O13 | O14 | P13 | P14 | Library25 Dilution2 | 6149.3559 | 17.8
A15 | A16 | B15 | B16 | Library26 Dilution1 | 6064.6471 | 14.5
C15 | C16 | D15 | D16 | Library26 Dilution2 | 6149.3559 | 17.8
E15 | E16 | F15 | F16 | Library27 Dilution1 | 6064.6471 | 14.5
G15 | G16 | H15 | H16 | Library27 Dilution2 | 6149.3559 | 17.8
I15 | I16 | J15 | J16 | Library28 Dilution1 | 6064.6471 | 14.5
K15 | K16 | L15 | L16 | Library28 Dilution2 | 6149.3559 | 17.8
M15 | M16 | N15 | N16 | Library29 Dilution1 | 6064.6471 | 14.5
O15 | O16 | P15 | P16 | Library29 Dilution2 | 6149.3559 | 17.8
A17 | A18 | B17 | B18 | Library30 Dilution1 | 6064.6471 | 14.5
C17 | C18 | D17 | D18 | Library30 Dilution2 | 6149.3559 | 17.8
E17 | E18 | F17 | F18 | Library31 Dilution1 | 6064.6471 | 14.5
G17 | G18 | H17 | H18 | Library31 Dilution2 | 6149.3559 | 17.8
I17 | I18 | J17 | J18 | Library32 Dilution1 | 6064.6471 | 14.5
K17 | K18 | L17 | L18 | Library32 Dilution2 | 6149.3559 | 17.8
M17 | M18 | N17 | N18 | Library33 Dilution1 | 6064.6471 | 14.5
O17 | O18 | P17 | P18 | Library33 Dilution2 | 6149.3559 | 17.8
A19 | A20 | B19 | B20 | Library34 Dilution1 | 6064.6471 | 14.5
C19 | C20 | D19 | D20 | Library34 Dilution2 | 6149.3559 | 17.8
E19 | E20 | F19 | F20 | Library35 Dilution1 | 6064.6471 | 14.5
G19 | G20 | H19 | H20 | Library35 Dilution2 | 6149.3559 | 17.8
I19 | I20 | J19 | J20 | Library36 Dilution1 | 6064.6471 | 14.5
K19 | K20 | L19 | L20 | Library36 Dilution2 | 6149.3559 | 17.8
M19 | M20 | N19 | N20 | Library37 Dilution1 | 6064.6471 | 14.5
O19 | O20 | P19 | P20 | Library37 Dilution2 | 6149.3559 | 17.8
A21 | A22 | B21 | B22 | Library38 Dilution1 | 6064.6471 | 14.5
C21 | C22 | D21 | D22 | Library38 Dilution2 | 6149.3559 | 17.8
E21 | E22 | F21 | F22 | Library39 Dilution1 | 6064.6471 | 14.5
G21 | G22 | H21 | H22 | Library39 Dilution2 | 6149.3559 | 17.8
I21 | I22 | J21 | J22 | Library40 Dilution1 | 6064.6471 | 14.5
K21 | K22 | L21 | L22 | Library40 Dilution2 | 6149.3559 | 17.8
M21 | M22 | N21 | N22 | Library41 Dilution1 | 6064.6471 | 14.5
O21 | O22 | P21 | P22 | Library41 Dilution2 | 6149.3559 | 17.8
A23 | A24 | B23 | B24 | Library42 Dilution1 | 6064.6471 | 14.5
C23 | C24 | D23 | D24 | Library42 Dilution2 | 6149.3559 | 17.8
E23 | E24 | F23 | F24 | Library43 Dilution1 | 6064.6471 | 14.5
G23 | G24 | H23 | H24 | Library43 Dilution2 | 6149.3559 | 17.8
I23 | I24 | J23 | J24 | Library44 Dilution1 | 6064.6471 | 14.5
K23 | K24 | L23 | L24 | Library44 Dilution2 | 6149.3559 | 17.8
M23 | M24 | N23 | N24 | Library45 Dilution1 | 6064.6471 | 14.5
O23 | O24 | P23 | P24 | Library45 Dilution2 | 6149.3559 | 17.8 | Notes:
If both dilutions result in CT values within the dynamic range of standards, use pM values from the most concentrated library dilution. If one dilution only falls within the dynamic range of standards, choose the pM value from the dilution that yields a CT value within the dynamic range of standards.
If CT values from both dilutions fall out of range (low CT), the library is too concentrated. We recommend checking the concentration using BioAnalyzer or QIAxcel and diluting the library to about 1 nM, and repeating library quantification using the GeneRead Library Quant System.
If CT values from both dilutions fall out of range (high CT), the library concentration is too low and not good for proceeding to sequencing. Library construction has to be repeated.

## Calculation
Well | raw CT | Well1 | Well2 | Well3 | Well4 | Sample name | Dilution fold | Value1 | Value2 | Value3 | Value4 | Ave CT (Y) | STDEV | X | pM
A01 | 11.2 | A01 | A02 | B01 | B02 | STD1 |  | 11.2 | 11.2 | 11.2 | 11.2 | FALSE | 0 | 1.301 | 20
A02 | 11.2 | C01 | C02 | D01 | D02 | STD2 |  | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.30103 | 2
A03 | 14.5 | E01 | E02 | F01 | F02 | STD3 |  | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69897 | 0.2
A04 | 14.5 | G01 | G02 | H01 | H02 | STD4 |  | 21.1 | 21.2 | 21.1 | 21.2 | 21.15 | 0.057735 | -1.699 | 0.02
A05 | 14.5 | I01 | I02 | J01 | J02 | STD5 |  | 24.4 | 24.5 | 24.4 | 24.5 | 24.45 | 0.057735 | -2.699 | 0.002
A06 | 14.5 | K01 | K02 | L01 | L02 | NTC |  | 40 | 40 | 40 | 40 | 40 | 0
A07 | 14.5 | M01 | M02 | N01 | N02 | Library1 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A08 | 14.5 | O01 | O02 | P01 | P02 | Library1 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A09 | 14.5 | A03 | A04 | B03 | B04 | Library2 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A10 | 14.5 | C03 | C04 | D03 | D04 | Library2 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A11 | 14.5 | E03 | E04 | F03 | F04 | Library3 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A12 | 14.5 | G03 | G04 | H03 | H04 | Library3 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A13 | 14.5 | I03 | I04 | J03 | J04 | Library4 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A14 | 14.5 | K03 | K04 | L03 | L04 | Library4 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A15 | 14.5 | M03 | M04 | N03 | N04 | Library5 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A16 | 14.5 | O03 | O04 | P03 | P04 | Library5 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A17 | 14.5 | A05 | A06 | B05 | B06 | Library6 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A18 | 14.5 | C05 | C06 | D05 | D06 | Library6 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A19 | 14.5 | E05 | E06 | F05 | F06 | Library7 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A20 | 14.5 | G05 | G06 | H05 | H06 | Library7 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A21 | 14.5 | I05 | I06 | J05 | J06 | Library8 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A22 | 14.5 | K05 | K06 | L05 | L06 | Library8 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
A23 | 14.5 | M05 | M06 | N05 | N06 | Library9 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
A24 | 14.5 | O05 | O06 | P05 | P06 | Library9 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B01 | 11.2 | A07 | A08 | B07 | B08 | Library10 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B02 | 11.2 | C07 | C08 | D07 | D08 | Library10 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B03 | 14.5 | E07 | E08 | F07 | F08 | Library11 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B04 | 14.5 | G07 | G08 | H07 | H08 | Library11 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B05 | 14.5 | I07 | I08 | J07 | J08 | Library12 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B06 | 14.5 | K07 | K08 | L07 | L08 | Library12 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B07 | 14.5 | M07 | M08 | N07 | N08 | Library13 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B08 | 14.5 | O07 | O08 | P07 | P08 | Library13 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B09 | 14.5 | A09 | A10 | B09 | B10 | Library14 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B10 | 14.5 | C09 | C10 | D09 | D10 | Library14 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B11 | 14.5 | E09 | E10 | F09 | F10 | Library15 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B12 | 14.5 | G09 | G10 | H09 | H10 | Library15 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B13 | 14.5 | I09 | I10 | J09 | J10 | Library16 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B14 | 14.5 | K09 | K10 | L09 | L10 | Library16 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B15 | 14.5 | M09 | M10 | N09 | N10 | Library17 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B16 | 14.5 | O09 | O10 | P09 | P10 | Library17 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B17 | 14.5 | A11 | A12 | B11 | B12 | Library18 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B18 | 14.5 | C11 | C12 | D11 | D12 | Library18 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B19 | 14.5 | E11 | E12 | F11 | F12 | Library19 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B20 | 14.5 | G11 | G12 | H11 | H12 | Library19 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B21 | 14.5 | I11 | I12 | J11 | J12 | Library20 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B22 | 14.5 | K11 | K12 | L11 | L12 | Library20 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
B23 | 14.5 | M11 | M12 | N11 | N12 | Library21 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
B24 | 14.5 | O11 | O12 | P11 | P12 | Library21 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C01 | 14.5 | A13 | A14 | B13 | B14 | Library22 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C02 | 14.5 | C13 | C14 | D13 | D14 | Library22 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C03 | 17.8 | E13 | E14 | F13 | F14 | Library23 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C04 | 17.8 | G13 | G14 | H13 | H14 | Library23 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C05 | 17.8 | I13 | I14 | J13 | J14 | Library24 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C06 | 17.8 | K13 | K14 | L13 | L14 | Library24 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C07 | 17.8 | M13 | M14 | N13 | N14 | Library25 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C08 | 17.8 | O13 | O14 | P13 | P14 | Library25 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C09 | 17.8 | A15 | A16 | B15 | B16 | Library26 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C10 | 17.8 | C15 | C16 | D15 | D16 | Library26 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C11 | 17.8 | E15 | E16 | F15 | F16 | Library27 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C12 | 17.8 | G15 | G16 | H15 | H16 | Library27 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C13 | 17.8 | I15 | I16 | J15 | J16 | Library28 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C14 | 17.8 | K15 | K16 | L15 | L16 | Library28 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C15 | 17.8 | M15 | M16 | N15 | N16 | Library29 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C16 | 17.8 | O15 | O16 | P15 | P16 | Library29 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C17 | 17.8 | A17 | A18 | B17 | B18 | Library30 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C18 | 17.8 | C17 | C18 | D17 | D18 | Library30 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C19 | 17.8 | E17 | E18 | F17 | F18 | Library31 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C20 | 17.8 | G17 | G18 | H17 | H18 | Library31 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C21 | 17.8 | I17 | I18 | J17 | J18 | Library32 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C22 | 17.8 | K17 | K18 | L17 | L18 | Library32 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
C23 | 17.8 | M17 | M18 | N17 | N18 | Library33 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
C24 | 17.8 | O17 | O18 | P17 | P18 | Library33 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D01 | 14.5 | A19 | A20 | B19 | B20 | Library34 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D02 | 14.5 | C19 | C20 | D19 | D20 | Library34 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D03 | 17.8 | E19 | E20 | F19 | F20 | Library35 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D04 | 17.8 | G19 | G20 | H19 | H20 | Library35 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D05 | 17.8 | I19 | I20 | J19 | J20 | Library36 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D06 | 17.8 | K19 | K20 | L19 | L20 | Library36 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D07 | 17.8 | M19 | M20 | N19 | N20 | Library37 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D08 | 17.8 | O19 | O20 | P19 | P20 | Library37 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D09 | 17.8 | A21 | A22 | B21 | B22 | Library38 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D10 | 17.8 | C21 | C22 | D21 | D22 | Library38 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D11 | 17.8 | E21 | E22 | F21 | F22 | Library39 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D12 | 17.8 | G21 | G22 | H21 | H22 | Library39 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D13 | 17.8 | I21 | I22 | J21 | J22 | Library40 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D14 | 17.8 | K21 | K22 | L21 | L22 | Library40 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D15 | 17.8 | M21 | M22 | N21 | N22 | Library41 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D16 | 17.8 | O21 | O22 | P21 | P22 | Library41 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D17 | 17.8 | A23 | A24 | B23 | B24 | Library42 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D18 | 17.8 | C23 | C24 | D23 | D24 | Library42 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D19 | 17.8 | E23 | E24 | F23 | F24 | Library43 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D20 | 17.8 | G23 | G24 | H23 | H24 | Library43 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D21 | 17.8 | I23 | I24 | J23 | J24 | Library44 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D22 | 17.8 | K23 | K24 | L23 | L24 | Library44 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
D23 | 17.8 | M23 | M24 | N23 | N24 | Library45 Dilution1 | 2000 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 0 | 0.29952 | 6064.6471
D24 | 17.8 | O23 | O24 | P23 | P24 | Library45 Dilution2 | 20000 | 17.8 | 17.8 | 17.8 | 17.8 | 17.8 | 0 | -0.69445 | 6149.3559
E01 | 17.8
E02 | 17.8 | slope | intercept | RSQ | efficiency
E03 | 14.5 | -3.32 | 15.4944 | 0.99999 | 1.0008
E04 | 14.5
E05 | 14.5
E06 | 14.5
E07 | 14.5
E08 | 14.5
E09 | 14.5
E10 | 14.5
E11 | 14.5
E12 | 14.5
E13 | 14.5
E14 | 14.5
E15 | 14.5
E16 | 14.5
E17 | 14.5
E18 | 14.5
E19 | 14.5
E20 | 14.5
E21 | 14.5
E22 | 14.5
E23 | 14.5
E24 | 14.5
F01 | 17.8
F02 | 17.8
F03 | 14.5
F04 | 14.5
F05 | 14.5
F06 | 14.5
F07 | 14.5
F08 | 14.5
F09 | 14.5
F10 | 14.5
F11 | 14.5
F12 | 14.5
F13 | 14.5
F14 | 14.5
F15 | 14.5
F16 | 14.5
F17 | 14.5
F18 | 14.5
F19 | 14.5
F20 | 14.5
F21 | 14.5
F22 | 14.5
F23 | 14.5
F24 | 14.5
G01 | 21.1
G02 | 21.2
G03 | 17.8
G04 | 17.8
G05 | 17.8
G06 | 17.8
G07 | 17.8
G08 | 17.8
G09 | 17.8
G10 | 17.8
G11 | 17.8
G12 | 17.8
G13 | 17.8
G14 | 17.8
G15 | 17.8
G16 | 17.8
G17 | 17.8
G18 | 17.8
G19 | 17.8
G20 | 17.8
G21 | 17.8
G22 | 17.8
G23 | 17.8
G24 | 17.8
H01 | 21.1
H02 | 21.2
H03 | 17.8
H04 | 17.8
H05 | 17.8
H06 | 17.8
H07 | 17.8
H08 | 17.8
H09 | 17.8
H10 | 17.8
H11 | 17.8
H12 | 17.8
H13 | 17.8
H14 | 17.8
H15 | 17.8
H16 | 17.8
H17 | 17.8
H18 | 17.8
H19 | 17.8
H20 | 17.8
H21 | 17.8
H22 | 17.8
H23 | 17.8
H24 | 17.8
I01 | 24.4
I02 | 24.5
I03 | 14.5
I04 | 14.5
I05 | 14.5
I06 | 14.5
I07 | 14.5
I08 | 14.5
I09 | 14.5
I10 | 14.5
I11 | 14.5
I12 | 14.5
I13 | 14.5
I14 | 14.5
I15 | 14.5
I16 | 14.5
I17 | 14.5
I18 | 14.5
I19 | 14.5
I20 | 14.5
I21 | 14.5
I22 | 14.5
I23 | 14.5
I24 | 14.5
J01 | 24.4
J02 | 24.5
J03 | 14.5
J04 | 14.5
J05 | 14.5
J06 | 14.5
J07 | 14.5
J08 | 14.5
J09 | 14.5
J10 | 14.5
J11 | 14.5
J12 | 14.5
J13 | 14.5
J14 | 14.5
J15 | 14.5
J16 | 14.5
J17 | 14.5
J18 | 14.5
J19 | 14.5
J20 | 14.5
J21 | 14.5
J22 | 14.5
J23 | 14.5
J24 | 14.5
K01 | 40
K02 | 40
K03 | 17.8
K04 | 17.8
K05 | 17.8
K06 | 17.8
K07 | 17.8
K08 | 17.8
K09 | 17.8
K10 | 17.8
K11 | 17.8
K12 | 17.8
K13 | 17.8
K14 | 17.8
K15 | 17.8
K16 | 17.8
K17 | 17.8
K18 | 17.8
K19 | 17.8
K20 | 17.8
K21 | 17.8
K22 | 17.8
K23 | 17.8
K24 | 17.8
L01 | 40
L02 | 40
L03 | 17.8
L04 | 17.8
L05 | 17.8
L06 | 17.8
L07 | 17.8
L08 | 17.8
L09 | 17.8
L10 | 17.8
L11 | 17.8
L12 | 17.8
L13 | 17.8
L14 | 17.8
L15 | 17.8
L16 | 17.8
L17 | 17.8
L18 | 17.8
L19 | 17.8
L20 | 17.8
L21 | 17.8
L22 | 17.8
L23 | 17.8
L24 | 17.8
M01 | 14.5
M02 | 14.5
M03 | 14.5
M04 | 14.5
M05 | 14.5
M06 | 14.5
M07 | 14.5
M08 | 14.5
M09 | 14.5
M10 | 14.5
M11 | 14.5
M12 | 14.5
M13 | 14.5
M14 | 14.5
M15 | 14.5
M16 | 14.5
M17 | 14.5
M18 | 14.5
M19 | 14.5
M20 | 14.5
M21 | 14.5
M22 | 14.5
M23 | 14.5
M24 | 14.5
N01 | 14.5
N02 | 14.5
N03 | 14.5
N04 | 14.5
N05 | 14.5
N06 | 14.5
N07 | 14.5
N08 | 14.5
N09 | 14.5
N10 | 14.5
N11 | 14.5
N12 | 14.5
N13 | 14.5
N14 | 14.5
N15 | 14.5
N16 | 14.5
N17 | 14.5
N18 | 14.5
N19 | 14.5
N20 | 14.5
N21 | 14.5
N22 | 14.5
N23 | 14.5
N24 | 14.5
O01 | 17.8
O02 | 17.8
O03 | 17.8
O04 | 17.8
O05 | 17.8
O06 | 17.8
O07 | 17.8
O08 | 17.8
O09 | 17.8
O10 | 17.8
O11 | 17.8
O12 | 17.8
O13 | 17.8
O14 | 17.8
O15 | 17.8
O16 | 17.8
O17 | 17.8
O18 | 17.8
O19 | 17.8
O20 | 17.8
O21 | 17.8
O22 | 17.8
O23 | 17.8
O24 | 17.8
P01 | 17.8
P02 | 17.8
P03 | 17.8
P04 | 17.8
P05 | 17.8
P06 | 17.8
P07 | 17.8
P08 | 17.8
P09 | 17.8
P10 | 17.8
P11 | 17.8
P12 | 17.8
P13 | 17.8
P14 | 17.8
P15 | 17.8
P16 | 17.8
P17 | 17.8
P18 | 17.8
P19 | 17.8
P20 | 17.8
P21 | 17.8
P22 | 17.8
P23 | 17.8
P24 | 17.8