## QIAseq UDI Y-Adapter Sequences
When manually creating the sample sheet | [5 empty] | Use i5 index sequences as shown in the table for your respective instrument and sequencing reagents
When using Instrument Run Setup, Sample Sheet Manager (SSM), Analysis Software (AS) Prep tab, or Local Run Manager | [5 empty] | Use i5 index sequences for Illumina®'s Forward Strand Workflow irrespective of your instrument
Plate | On plate count | Total count | Row | Column | i7 bases for entry on sample sheet | i5 bases for entry on sample sheet (Forward Strand Workflow) | i5 bases for entry on sample sheet (Reverse Complement Workflow) ONLY FOR MANUAL RUN SETUP
[5 empty] | All instruments | MiSeq®, HiSeq® 2000/2500, NovaSeq® 6000 with v1.0 reagents | iSeq® 100, MiniSeq®, NextSeq® 500/550, NextSeq 1000/2000 in Standalone mode with v1 sample sheets, HiSeq X, HiSeq 3000/4000, NovaSeq 6000 with v1.5 reagents
A | 01 | 001 | A | 1 | TGAACGTTGT | ATGGCCGACT | AGTCGGCCAT
A | 02 | 002 | B | 1 | ACCAGACTTG | CGATGAGCAC | GTGCTCATCG
A | 03 | 003 | C | 1 | ACTGGCGAAC | GATAAGTCGA | TCGACTTATC
A | 04 | 004 | D | 1 | GCGTTAGGCA | TCACGCCTTG | CAAGGCGTGA
A | 05 | 005 | E | 1 | TTATCGGCCT | AGGAACACAA | TTGTGTTCCT
A | 06 | 006 | F | 1 | GAGGTATAAG | CTCAGTAGGC | GCCTACTGAG
A | 07 | 007 | G | 1 | TCAAGGATTC | GAAGTGCCTG | CAGGCACTTC
A | 08 | 008 | H | 1 | CGAACCGAGA | TCTCTCGCCT | AGGCGAGAGA
A | 09 | 009 | A | 2 | GAGCCAAGTT | AGGCACCTTC | GAAGGTGCCT
A | 10 | 010 | B | 2 | AAGGCCGTAG | CTGTTGGTAA | TTACCAACAG
A | 11 | 011 | C | 2 | TTAGAGAAGC | GCTGGTACCT | AGGTACCAGC
A | 12 | 012 | D | 2 | TCTAAGACCA | TAAGGAGCGG | CCGCTCCTTA
A | 13 | 013 | E | 2 | TGTAACCACT | AATCGCTCCA | TGGAGCGATT
A | 14 | 014 | F | 2 | CCGACACAAG | CTCCTAATTG | CAATTAGGAG
A | 15 | 015 | G | 2 | CTCTGATGGC | GCCTCATAAT | ATTATGAGGC
A | 16 | 016 | H | 2 | CGGCCTGTTA | TGTATTGAGC | GCTCAATACA
A | 17 | 017 | A | 3 | TGCATAGCTT | AGCCATAACA | TGTTATGGCT
A | 18 | 018 | B | 3 | AACCTTCTCG | CCACAAGTGG | CCACTTGTGG
A | 19 | 019 | C | 3 | AAGAGATCAC | GTTATCACAC | GTGTGATAAC
A | 20 | 020 | D | 3 | GCCTGAAGGA | TACCGTTCTT | AAGAACGGTA
A | 21 | 021 | E | 3 | ATTGTGCCTT | AGGCGTTAGG | CCTAACGCCT
A | 22 | 022 | F | 3 | TCCTCTACCG | CCGTAACGTC | GACGTTACGG
A | 23 | 023 | G | 3 | TACCATGAAC | GTAATAGCCA | TGGCTATTAC
A | 24 | 024 | H | 3 | CATTGGCAGA | TAGCGCCGAT | ATCGGCGCTA
A | 25 | 025 | A | 4 | CACTGCTATT | CATTCTTGGA | TCCAAGAATG
A | 26 | 026 | B | 4 | AATGGTAGGT | ATGCAAGGTT | AACCTTGCAT
A | 27 | 027 | C | 4 | GATACCTATG | CGCCAGACAA | TTGTCTGGCG
A | 28 | 028 | D | 4 | CACTAGGTAC | GAAGGTTGGC | GCCAACCTTC
A | 29 | 029 | E | 4 | AGCTCGTTCA | TCGCATCACG | CGTGATGCGA
A | 30 | 030 | F | 4 | TGTCAGTCTT | CCGGTCATGA | TCATGACCGG
A | 31 | 031 | G | 4 | GATGAACAGT | ATTCACAAGC | GCTTGTGAAT
A | 32 | 032 | H | 4 | ACAATCGGCG | CAACCTGTAA | TTACAGGTTG
A | 33 | 033 | A | 5 | GATTGAGTTC | GCCAGTCGTT | AACGACTGGC
A | 34 | 034 | B | 5 | GTAATGCCAA | TGCCTTGTCG | CGACAAGGCA
A | 35 | 035 | C | 5 | TCGTTGCGCT | CTATCCGCTG | CAGCGGATAG
A | 36 | 036 | D | 5 | AGGTGAGTAT | AATGCCGGAA | TTCCGGCATT
A | 37 | 037 | E | 5 | TCGATAATGG | CGGTTATCCG | CGGATAACCG
A | 38 | 038 | F | 5 | GCGTCTCTTC | GCGGAAGAGT | ACTCTTCCGC
A | 39 | 039 | G | 5 | GTCTCCTGCA | TTGGTTAGTC | GACTAACCAA
A | 40 | 040 | H | 5 | GAGCTTCATT | TTCAGTGTGA | TCACACTGAA
A | 41 | 041 | A | 6 | AGGCCTACAT | AGAATTCTGG | CCAGAATTCT
A | 42 | 042 | B | 6 | TGTGGAACCG | CATTGACTCT | AGAGTCAATG
A | 43 | 043 | C | 6 | CGTATTAAGC | GCGGCTTCAA | TTGAAGCCGC
A | 44 | 044 | D | 6 | CCAGTGGTTA | TTATGGTCTC | GAGACCATAA
A | 45 | 045 | E | 6 | GCGTTCGAGT | CGTAACCAGG | CCTGGTTACG
A | 46 | 046 | F | 6 | CCTTCCGGTT | AGCTCAGATA | TATCTGAGCT
A | 47 | 047 | G | 6 | CACAAGACGG | CCGGTGTTAC | GTAACACCGG
A | 48 | 048 | H | 6 | GCTTACACAC | GACCTAACCT | AGGTTAGGTC
A | 49 | 049 | A | 7 | AGGATGTCCA | TTGTAGAAGG | CCTTCTACAA
A | 50 | 050 | B | 7 | CACCTTATGT | CCTAGCACTA | TAGTGCTAGG
A | 51 | 051 | C | 7 | AAGCGGCTGT | ATCGTGTTCT | AGAACACGAT
A | 52 | 052 | D | 7 | TTCCTGTGAG | CCAACTTATC | GATAAGTTGG
A | 53 | 053 | E | 7 | AGTACAGTTC | GAAGCCAAGG | CCTTGGCTTC
A | 54 | 054 | F | 7 | TACAGCCTCA | TGGAGTTCAA | TTGAACTCCA
A | 55 | 055 | G | 7 | GTTCTATTGG | CTTCAATCCT | AGGATTGAAG
A | 56 | 056 | H | 7 | ATATACCGGT | ATCTTGCGTG | CACGCAAGAT
A | 57 | 057 | A | 8 | CCTCGGAATG | CGTCTAAGGT | ACCTTAGACG
A | 58 | 058 | B | 8 | GTTCTGGAAC | GAGGTGAACA | TGTTCACCTC
A | 59 | 059 | C | 8 | AGATTCACCA | TCAGAACTAC | GTAGTTCTGA
A | 60 | 060 | D | 8 | TCGGTCAGAT | CGGATATTGA | TCAATATCCG
A | 61 | 061 | E | 8 | CACTCTCGCT | AGGAGTAGAT | ATCTACTCCT
A | 62 | 062 | F | 8 | GTTGGTCCAG | CCGCCGAATA | TATTCGGCGG
A | 63 | 063 | G | 8 | AGCTCGAAGC | GAGTCTATAC | GTATAGACTC
A | 64 | 064 | H | 8 | AGAGGTTCTA | TTATTACCGG | CCGGTAATAA
A | 65 | 065 | A | 9 | ATGACTCGAA | CGCTCGTTAG | CTAACGAGCG
A | 66 | 066 | B | 9 | GAACAATCCT | AACAACGCTG | CAGCGTTGTT
A | 67 | 067 | C | 9 | TGGCAAGGAG | CGCGGCTATT | AATAGCCGCG
A | 68 | 068 | D | 9 | GAATATTGGC | GCTCGACACA | TGTGTCGAGC
A | 69 | 069 | E | 9 | CCGGAACCTA | TTCTTCCAAC | GTTGGAAGAA
A | 70 | 070 | F | 9 | ACTTGTTCGG | TTGGCGGTTG | CAACCGCCAA
A | 71 | 071 | G | 9 | CAAGTCCAAT | AACAGGCAAT | ATTGCCTGTT
A | 72 | 072 | H | 9 | AACCGCAAGG | CAGAATGGCG | CGCCATTCTG
A | 73 | 073 | A | 10 | ACGTTGACTC | GTTGAGATTC | GAATCTCAAC
A | 74 | 074 | B | 10 | CCACTTAACA | TGTGTGCGGA | TCCGCACACA
A | 75 | 075 | C | 10 | AGCAGTTCCT | GTTCGGCGAA | TTCGCCGAAC
A | 76 | 076 | D | 10 | TCGCCTTCGT | AGCTGTATTG | CAATACAGCT
A | 77 | 077 | E | 10 | TAGGACTGCG | CAGCGGATGA | TCATCCGCTG
A | 78 | 078 | F | 10 | TCCGAGCGAA | GTCCTTGGAT | ATCCAAGGAC
A | 79 | 079 | G | 10 | TTCGGTTGTT | TCTAGATGCT | AGCATCTAGA
A | 80 | 080 | H | 10 | ACAGGAGGAA | CGAGCCACAT | ATGTGGCTCG
A | 81 | 081 | A | 11 | CCTCCATTAA | ATGGAATGGA | TCCATTCCAT
A | 82 | 082 | B | 11 | AGTCGCGGTT | CATTCCTCAC | GTGAGGAATG
A | 83 | 083 | C | 11 | CTCATCCAGG | GCATAGGAAG | CTTCCTATGC
A | 84 | 084 | D | 11 | TGTGGTTGAA | TGTTCGTGTT | AACACGAACA
A | 85 | 085 | E | 11 | TTATGCGTGG | TAAGACCGTT | AACGGTCTTA
A | 86 | 086 | F | 11 | GCGAATGTAT | ATGGTACCAG | CTGGTACCAT
A | 87 | 087 | G | 11 | GTCAAGCTCG | CCGACAGCTT | AAGCTGTCGG
A | 88 | 088 | H | 11 | TAGAGTTGGA | GACGATATGA | TCATATCGTC
A | 89 | 089 | A | 12 | CTGATGATCT | TTGTACTCCA | TGGAGTACAA
A | 90 | 090 | B | 12 | ACTAGGTGTT | GTGCACATAA | TTATGTGCAC
A | 91 | 091 | C | 12 | CTGTTAGCGG | AGGACAAGTA | TACTTGTCCT
A | 92 | 092 | D | 12 | ATCGCACCAA | CCGATTCGAG | CTCGAATCGG
A | 93 | 093 | E | 12 | CTTACTTGGT | GTAGGAACTT | AAGTTCCTAC
A | 94 | 094 | F | 12 | CCTTAATGCG | TACACTACGA | TCGTAGTGTA
A | 95 | 095 | G | 12 | TCTCGCCTAG | ATGACCTTGA | TCAAGGTCAT
A | 96 | 096 | H | 12 | TCTTCAGAGA | CTACGTGACG | CGTCACGTAG
B | 01 | 097 | A | 1 | TACCGGTGGT | AACAATCAGG | CCTGATTGTT
B | 02 | 098 | B | 1 | AGGTGTTACG | CTGGTGTGCA | TGCACACCAG
B | 03 | 099 | C | 1 | ACAGACCGAC | GCATATCCTT | AAGGATATGC
B | 04 | 100 | D | 1 | CGAATACGTA | TGTCCTGTAC | GTACAGGACA
B | 05 | 101 | E | 1 | TAGCATCGAT | AGAACGTCGC | GCGACGTTCT
B | 06 | 102 | F | 1 | CCATGAGTCG | CACGGACTAG | CTAGTCCGTG
B | 07 | 103 | G | 1 | ACTAACATGC | GTTGAACACT | AGTGTTCAAC
B | 08 | 104 | H | 1 | ACACTCTCTA | TCGCGTGGTA | TACCACGCGA
B | 09 | 105 | A | 2 | GCTCTTGCCT | AGCCACTATG | CATAGTGGCT
B | 10 | 106 | B | 2 | AATCTTGAGG | CCACCTACCA | TGGTAGGTGG
B | 11 | 107 | C | 2 | CTTAACGGTC | GTTCCGGTGT | ACACCGGAAC
B | 12 | 108 | D | 2 | TTGTGACCAA | TAGGTCTGAC | GTCAGACCTA
B | 13 | 109 | E | 2 | TCACACACCT | AGGAAGCATT | AATGCTTCCT
B | 14 | 110 | F | 2 | CTGCAATTAG | CCTTAGTTGG | CCAACTAAGG
B | 15 | 111 | G | 2 | CTCCTTACTC | GTCCTATTCA | TGAATAGGAC
B | 16 | 112 | H | 2 | GCAACGCAGA | TAAGATGGAC | GTCCATCTTA
B | 17 | 113 | A | 3 | CCTTACCAAT | AGGCCATGGT | ACCATGGCCT
B | 18 | 114 | B | 3 | TTAATCCTCG | CATTGGCCAA | TTGGCCAATG
B | 19 | 115 | C | 3 | TTCCGAGTTC | GCTATGAATC | GATTCATAGC
B | 20 | 116 | D | 3 | CTCGAGAGGA | TTGGTCCTCG | CGAGGACCAA
B | 21 | 117 | E | 3 | TGTTGGCTGT | AGCGACATAC | GTATGTCGCT
B | 22 | 118 | F | 3 | CGTATCTGCG | CAAGTAGTCT | AGACTACTTG
B | 23 | 119 | G | 3 | CCATAGTATC | GTCAAGAAGA | TCTTCTTGAC
B | 24 | 120 | H | 3 | TGGACAGTAA | TCCTGTTATG | CATAACAGGA
B | 25 | 121 | A | 4 | GTACCTTGTT | AAGTGCGATA | TATCGCACTT
B | 26 | 122 | B | 4 | GAGTGCCTCT | AGGCTACACG | CGTGTAGCCT
B | 27 | 123 | C | 4 | TAAGTAGCGG | CTATATCGGC | GCCGATATAG
B | 28 | 124 | D | 4 | CGTGGTGTTC | GCTAAGGTAA | TTACCTTAGC
B | 29 | 125 | E | 4 | CATTCCTGAA | TAACCTGGTT | AACCAGGTTA
B | 30 | 126 | F | 4 | AAGATGCATG | AGTTGGTCTA | TAGACCAACT
B | 31 | 127 | G | 4 | CCTTGGAGCT | ATGCAGCTGG | CCAGCTGCAT
B | 32 | 128 | H | 4 | ACCGGAACAG | CGTTGCCTTC | GAAGGCAACG
B | 33 | 129 | A | 5 | GAATGGAAGC | GCGTGGAGAA | TTCTCCACGC
B | 34 | 130 | B | 5 | GTTCTCCATA | TACGCCTCCT | AGGAGGCGTA
B | 35 | 131 | C | 5 | GTCACTATGT | AATTCGGTAG | CTACCGAATT
B | 36 | 132 | D | 5 | TGGTAGAACT | ATTGTCGAAC | GTTCGACAAT
B | 37 | 133 | E | 5 | ACGCCTATGG | CAACCTTGCG | CGCAAGGTTG
B | 38 | 134 | F | 5 | AATCCGTTAC | GCACTGCGTA | TACGCAGTGC
B | 39 | 135 | G | 5 | GTTGAGGCTA | TGCTAGTAGT | ACTACTAGCA
B | 40 | 136 | H | 5 | TATCAACTGG | AAGTCACGGA | TCCGTGACTT
B | 41 | 137 | A | 6 | AAGAGGAGAT | AGCGATTGAA | TTCAATCGCT
B | 42 | 138 | B | 6 | GTCTTCTCGG | CTACCTCTCT | AGAGAGGTAG
B | 43 | 139 | C | 6 | GAAGCCACTC | GACAACTGTC | GACAGTTGTC
B | 44 | 140 | D | 6 | GTAGGACACA | TCCATTGCGG | CCGCAATGGA
B | 45 | 141 | E | 6 | CTCCTCGTAT | AGCCTCGCAA | TTGCGAGGCT
B | 46 | 142 | F | 6 | CCACATGATT | AATACAGGCT | AGCCTGTATT
B | 47 | 143 | G | 6 | AGACGGTTGG | CGGACCGTTA | TAACGGTCCG
B | 48 | 144 | H | 6 | CTAGGTTGAC | GCGCTTATGC | GCATAAGCGC
B | 49 | 145 | A | 7 | AAGCGTACCA | TTAACACGAG | CTCGTGTTAA
B | 50 | 146 | B | 7 | TCATGTTGGT | CGCCTCTAGA | TCTAGAGGCG
B | 51 | 147 | C | 7 | TTGGAATGGT | AATCGACCTT | AAGGTCGATT
B | 52 | 148 | D | 7 | GTGTATGTTG | CCGCAATAAC | GTTATTGCGG
B | 53 | 149 | E | 7 | TCCTGTCAAC | GTTCCAACGA | TCGTTGGAAC
B | 54 | 150 | F | 7 | TAATCAGGCA | TGTTAGACCG | CGGTCTAACA
B | 55 | 151 | G | 7 | GTAGTGGATT | AACCTCATAG | CTATGAGGTT
B | 56 | 152 | H | 7 | AATTGCGCAT | ATGAATCCAC | GTGGATTCAT
B | 57 | 153 | A | 8 | GACAATAACG | CGGCTTAATT | AATTAAGCCG
B | 58 | 154 | B | 8 | ACAGTTAAGC | GAGTTGCAGG | CCTGCAACTC
B | 59 | 155 | C | 8 | AGCCACACTA | TCCACGAACA | TGTTCGTGGA
B | 60 | 156 | D | 8 | CAATCGTCTT | TGACGGAGGA | TCCTCCGTCA
B | 61 | 157 | E | 8 | AGGAGCTTGT | AATGAGTACG | CGTACTCATT
B | 62 | 158 | F | 8 | TTGAGCGGAG | CGTCTTCCGA | TCGGAAGACG
B | 63 | 159 | G | 8 | AGTAGCTCTC | GACAGAGATT | AATCTCTGTC
B | 64 | 160 | H | 8 | CACGCTGTCA | TTACGCTAAC | GTTAGCGTAA
B | 65 | 161 | A | 9 | AAGACCTCTT | CTCCTCGAAG | CTTCGAGGAG
B | 66 | 162 | B | 9 | GACCTCTTCT | ATACCGCAGA | TCTGCGGTAT
B | 67 | 163 | C | 9 | TACTTCCTTG | CCTATCTGAT | ATCAGATAGG
B | 68 | 164 | D | 9 | TGCGATACGC | GATCGGTTAC | GTAACCGATC
B | 69 | 165 | E | 9 | GCAGGCTTAA | TGGTGAGGTG | CACCTCACCA
B | 70 | 166 | F | 9 | TAAGCTTGTG | AACCGGCGTA | TACGCCGGTT
B | 71 | 167 | G | 9 | ATGGTCCGCT | AATACCGATC | GATCGGTATT
B | 72 | 168 | H | 9 | ATGTCAGAAG | CGATACTCAA | TTGAGTATCG
B | 73 | 169 | A | 10 | GACGAAGGTC | GTAAGGCGGT | ACCGCCTTAC
B | 74 | 170 | B | 10 | ATCACCGTGA | TTCAAGGTCG | CGACCTTGAA
B | 75 | 171 | C | 10 | GCTACAGTGT | TATCCGAGTA | TACTCGGATA
B | 76 | 172 | D | 10 | CGTCGAATAT | AGCGCGCTTA | TAAGCGCGCT
B | 77 | 173 | E | 10 | CAACCATCGG | CCGGAGACAT | ATGTCTCCGG
B | 78 | 174 | F | 10 | CGGTCCATTC | GAGATAACTG | CAGTTATCTC
B | 79 | 175 | G | 10 | AGAAGAGCCA | TTGTAAGCGC | GCGCTTACAA
B | 80 | 176 | H | 10 | CTATGCAATG | CAAGAGGAGG | CCTCCTCTTG
B | 81 | 177 | A | 11 | CACTGAACCG | AACCTTAGGA | TCCTAAGGTT
B | 82 | 178 | B | 11 | TACTGTGTGA | CTGGCAACTC | GAGTTGCCAG
B | 83 | 179 | C | 11 | GCATTCTGTT | GAACTTGTTG | CAACAAGTTC
B | 84 | 180 | D | 11 | CTCCGCTAAG | TGTGCAAGAT | ATCTTGCACA
B | 85 | 181 | E | 11 | TCGCTTGAGA | AATCGAGAGA | TCTCTCGATT
B | 86 | 182 | F | 11 | AACTAGCCTT | AGCGTGTCAG | CTGACACGCT
B | 87 | 183 | G | 11 | TTCGCTCAGG | CTTGGTGATT | AATCACCAAG
B | 88 | 184 | H | 11 | CTCTACAACA | GAAGCAGCAA | TTGCTGCTTC
B | 89 | 185 | A | 12 | TGAGTGTGTT | TTCCGTCGAC | GTCGACGGAA
B | 90 | 186 | B | 12 | TAGTTAGTCG | CGAGATGCCA | TGGCATCTCG
B | 91 | 187 | C | 12 | GCCTGATCCT | AAGTTCGTGC | GCACGAACTT
B | 92 | 188 | D | 12 | CGAGTACAGG | CGTCCATAAG | CTTATGGACG
B | 93 | 189 | E | 12 | GCCTAGATTA | TTGTGGCATA | TATGCCACAA
B | 94 | 190 | F | 12 | TCGGCACTGT | AGATCGGAAT | ATTCCGATCT
B | 95 | 191 | G | 12 | CCGTGCAAGA | CATTCTACTG | CAGTAGAATG
B | 96 | 192 | H | 12 | CTGGCTGGTT | ATCGCCGTAG | CTACGGCGAT
C | 01 | 193 | A | 1 | CGTTAGGATT | ATCCTTACAC | GTGTAAGGAT
C | 02 | 194 | B | 1 | TTCCATTACG | CGCAAGGACT | AGTCCTTGCG
C | 03 | 195 | C | 1 | TAGCGGTAAC | GCTGGCGTTA | TAACGCCAGC
C | 04 | 196 | D | 1 | GTAGCCAGGA | TACTTAGAGG | CCTCTAAGTA
C | 05 | 197 | E | 1 | AGGATACTCT | ATGGCGATGC | GCATCGCCAT
C | 06 | 198 | F | 1 | TATCCTCCAG | CATTGGTGCG | CGCACCAATG
C | 07 | 199 | G | 1 | TAAGTCGTTC | GCGAGATATA | TATATCTCGC
C | 08 | 200 | H | 1 | TCCGGATTGA | TGACTGCTAT | ATAGCAGTCA
C | 09 | 201 | A | 2 | ACGTCTTGTT | AACGTCCGCT | AGCGGACGTT
C | 10 | 202 | B | 2 | ATGAAGTGCG | CGCACATGTC | GACATGTGCG
C | 11 | 203 | C | 2 | CGATCACTGC | GCACACCTGA | TCAGGTGTGC
C | 12 | 204 | D | 2 | CCTATCGGAA | TTGTCCAGAG | CTCTGGACAA
C | 13 | 205 | E | 2 | CAGAGAGCTT | AGCCTTCCTG | CAGGAAGGCT
C | 14 | 206 | F | 2 | GCAACTTGCG | CCTTACGCCA | TGGCGTAAGG
C | 15 | 207 | G | 2 | TATGGAGGAC | GAATACGTAC | GTACGTATTC
C | 16 | 208 | H | 2 | TGAGATCAGA | TTGGCACCGT | ACGGTGCCAA
C | 17 | 209 | A | 3 | TCAGCCTATT | ATTAGGTGGC | GCCACCTAAT
C | 18 | 210 | B | 3 | GTTGTGAGCG | CGATCAAGAA | TTCTTGATCG
C | 19 | 211 | C | 3 | TCAGTAACAC | GCTGTCTTCT | AGAAGACAGC
C | 20 | 212 | D | 3 | AAGGCTCAGA | TACATGTCTG | CAGACATGTA
C | 21 | 213 | E | 3 | GTGTGGTGGT | AACCAGTTGA | TCAACTGGTT
C | 22 | 214 | F | 3 | CCGAGCTTAG | CCGGTAAGCT | AGCTTACCGG
C | 23 | 215 | G | 3 | ATCACGCTTC | GTTCGAATAG | CTATTCGAAC
C | 24 | 216 | H | 3 | TAGCTATGCA | TGTCAGGCTC | GAGCCTGACA
C | 25 | 217 | A | 4 | TGTTCCTCAT | CAACAGTGTT | AACACTGTTG
C | 26 | 218 | B | 4 | CATACCTTCT | AAGAGAGGAA | TTCCTCTCTT
C | 27 | 219 | C | 4 | GCCTTCAATG | CGGTTGTAGC | GCTACAACCG
C | 28 | 220 | D | 4 | CTTGACCAGC | GCCTGAAGTG | CACTTCAGGC
C | 29 | 221 | E | 4 | CTACACACAA | TTACGACACT | AGTGTCGTAA
C | 30 | 222 | F | 4 | TAGGCTGAAT | CGCCTAGATC | GATCTAGGCG
C | 31 | 223 | G | 4 | TCGGAGTCCT | AATCTGGATG | CATCCAGATT
C | 32 | 224 | H | 4 | AACATCGCGG | CGACGGTACA | TGTACCGTCG
C | 33 | 225 | A | 5 | GTTGTCTTAC | GTAGTATTGC | GCAATACTAC
C | 34 | 226 | B | 5 | GTGGCAACTA | TCCAGCGGAT | ATCCGCTGGA
C | 35 | 227 | C | 5 | GAGCAGGCAT | CAACCACCTC | GAGGTGGTTG
C | 36 | 228 | D | 5 | AACGGCACCT | AGCTTAGGCG | CGCCTAAGCT
C | 37 | 229 | E | 5 | AGTAACCTTG | CCGGTTCCTT | AAGGAACCGG
C | 38 | 230 | F | 5 | TCTCATAAGC | GACATTGAAC | GTTCAATGTC
C | 39 | 231 | G | 5 | TGCTTGCCAA | TTAGAGGCGA | TCGCCTCTAA
C | 40 | 232 | H | 5 | CGGTTCCTGT | CAAGCCGAAC | GTTCGGCTTG
C | 41 | 233 | A | 6 | CCAAGTAGAT | AGGAGAACGG | CCGTTCTCCT
C | 42 | 234 | B | 6 | AAGGTTGGCG | CCTGTTAGAC | GTCTAACAGG
C | 43 | 235 | C | 6 | TGCTCTGGTC | GTTCTACGTT | AACGTAGAAC
C | 44 | 236 | D | 6 | ACTGTAACGA | TAAGTCCACA | TGTGGACTTA
C | 45 | 237 | E | 6 | GATTCCAGGT | CAAGAACCAT | ATGGTTCTTG
C | 46 | 238 | F | 6 | TTCACCAGAT | AGTTGATGAC | GTCATCAACT
C | 47 | 239 | G | 6 | ACTTCCAAGG | CCTACTCTTG | CAAGAGTAGG
C | 48 | 240 | H | 6 | CCGAATATTC | GAACAATCCA | TGGATTGTTC
C | 49 | 241 | A | 7 | CTCTTATCCA | TTCTGTTGGT | ACCAACAGAA
C | 50 | 242 | B | 7 | TCACAGCGGT | CATCGTCAGG | CCTGACGATG
C | 51 | 243 | C | 7 | CCTCTGTCGT | ATGCATGAAG | CTTCATGCAT
C | 52 | 244 | D | 7 | TCTGTTCTCG | CGTGAATCGC | GCGATTCACG
C | 53 | 245 | E | 7 | GATACTTCAC | GAGCAGCCTT | AAGGCTGCTC
C | 54 | 246 | F | 7 | AGTGCTGATA | TCGATTACCA | TGGTAATCGA
C | 55 | 247 | G | 7 | ATCCTTCGGT | CAGTCCAATT | AATTGGACTG
C | 56 | 248 | H | 7 | GACAACGATT | AGAGGCTTGG | CCAAGCCTCT
C | 57 | 249 | A | 8 | GAACCGGTAG | CAGGCTCTCA | TGAGAGCCTG
C | 58 | 250 | B | 8 | AGCAATGAGC | GTTCGCTCTC | GAGAGCGAAC
C | 59 | 251 | C | 8 | CAAGACTCCA | TCGGACTAAT | ATTAGTCCGA
C | 60 | 252 | D | 8 | ACCGTGTAGG | CGAGATCTTC | GAAGATCTCG
C | 61 | 253 | E | 8 | AGGCACAGGT | ATAACCGGAC | GTCCGGTTAT
C | 62 | 254 | F | 8 | CGACAGATCG | CGTGTAGTTA | TAACTACACG
C | 63 | 255 | G | 8 | ACGCGACAAC | GAACATAGGT | ACCTATGTTC
C | 64 | 256 | H | 8 | ACTTGCGTTA | TCTAACATCG | CGATGTTAGA
C | 65 | 257 | A | 9 | CACCACTCAT | AACGGTGGCA | TGCCACCGTT
C | 66 | 258 | B | 9 | CTTCGTAACT | AGGACGGTGT | ACACCGTCCT
C | 67 | 259 | C | 9 | CAGTATTCGG | CTGTGACCTG | CAGGTCACAG
C | 68 | 260 | D | 9 | CAGTCTGGAC | GCTGTAACAA | TTGTTACAGC
C | 69 | 261 | E | 9 | TACCGTTCTA | TACGGACGTC | GACGTCCGTA
C | 70 | 262 | F | 9 | GTGTCCACAG | CCTAAGGAGC | GCTCCTTAGG
C | 71 | 263 | G | 9 | TTACGACTGT | ATAAGGCCAG | CTGGCCTTAT
C | 72 | 264 | H | 9 | GACGCGAATG | CTCATCTGTA | TACAGATGAG
C | 73 | 265 | A | 10 | CAACGTACGC | GAAGGCATCT | AGATGCCTTC
C | 74 | 266 | B | 10 | AGCTCAGGAA | TCTCTACTGC | GCAGTAGAGA
C | 75 | 267 | C | 10 | GATAGGCGGT | AACCGAACAA | TTGTTCGGTT
C | 76 | 268 | D | 10 | AGTAGGAAGT | ATCTCGCCAC | GTGGCGAGAT
C | 77 | 269 | E | 10 | CATGTTGTAG | CCATGCAACG | CGTTGCATGG
C | 78 | 270 | F | 10 | CACATTCTTC | GAATGGTGTA | TACACCATTC
C | 79 | 271 | G | 10 | GCAGCTCGTA | TATATGCCGT | ACGGCATATA
C | 80 | 272 | H | 10 | GTTCAGACGG | CTCGATAGAT | ATCTATCGAG
C | 81 | 273 | A | 11 | TCCTGGAAGT | AACACAAGAG | CTCTTGTGTT
C | 82 | 274 | B | 11 | GCATTGTTAG | CGCAATCGGT | ACCGATTGCG
C | 83 | 275 | C | 11 | GACCTACAGC | GTTGCGTAGA | TCTACGCAAC
C | 84 | 276 | D | 11 | CACCGACGTA | TAGAGTGATC | GATCACTCTA
C | 85 | 277 | E | 11 | CTCTCACCTT | AAGACGCAGC | GCTGCGTCTT
C | 86 | 278 | F | 11 | CTCGTTCATT | AACTTCTCGA | TCGAGAAGTT
C | 87 | 279 | G | 11 | TGGTGGCAAG | CGCAACTGAG | CTCAGTTGCG
C | 88 | 280 | H | 11 | GATTGCTTGA | GCTCCGCAAT | ATTGCGGAGC
C | 89 | 281 | A | 12 | CCGTTAAGGT | GTAACTTCCG | CGGAAGTTAC
C | 90 | 282 | B | 12 | TGCTGAGAGG | CTCACGACTA | TAGTCGTGAG
C | 91 | 283 | C | 12 | TTGTCACTTG | AACCAACGGC | GCCGTTGGTT
C | 92 | 284 | D | 12 | GCTGTTATGT | CCTGCCTGTA | TACAGGCAGG
C | 93 | 285 | E | 12 | GCAGCAGTTG | TACGCTGCAG | CTGCAGCGTA
C | 94 | 286 | F | 12 | GCAGATCAAT | AATGTTGCGA | TCGCAACATT
C | 95 | 287 | G | 12 | TGGTTCACGG | CGACGTTCTG | CAGAACGTCG
C | 96 | 288 | H | 12 | TCGACCGCAT | AATAGGACAC | GTGTCCTATT
D | 01 | 289 | A | 1 | TAACCTAGGT | ATGTGCCTCA | TGAGGCACAT
D | 02 | 290 | B | 1 | AACTCATGCG | CGACTCCGTT | AACGGAGTCG
D | 03 | 291 | C | 1 | CCGGATGAAC | GCTGTTGTGG | CCACAACAGC
D | 04 | 292 | D | 1 | CGTTGCCGTA | TACCAATCAC | GTGATTGGTA
D | 05 | 293 | E | 1 | GCTCTACGGT | ATGTCTTACG | CGTAAGACAT
D | 06 | 294 | F | 1 | TGCATTGGCG | CGCAACAATA | TATTGTTGCG
D | 07 | 295 | G | 1 | CGATTGTGAC | GAACGAAGAC | GTCTTCGTTC
D | 08 | 296 | H | 1 | GACTGCACTA | TCGAGGACGT | ACGTCCTCGA
D | 09 | 297 | A | 2 | GTTAACTGCT | ATTATGAGCG | CGCTCATAAT
D | 10 | 298 | B | 2 | TCGGACCTTG | CGCGTTATAA | TTATAACGCG
D | 11 | 299 | C | 2 | TGCAGCAAGC | GCGTGCATGT | ACATGCACGC
D | 12 | 300 | D | 2 | CACATGCGAA | TAAGCGGCTC | GAGCCGCTTA
D | 13 | 301 | E | 2 | CAGACGTAAT | AACATGGAGA | TCTCCATGTT
D | 14 | 302 | F | 2 | ATTCGGTACG | CCGAGTCTCT | AGAGACTCGG
D | 15 | 303 | G | 2 | TTAGCACGGC | GTACTTCTAC | GTAGAAGTAC
D | 16 | 304 | H | 2 | GAGGATAGTA | TGTTCACATG | CATGTGAACA
D | 17 | 305 | A | 3 | AACTGTGGTT | AAGGTAACGC | GCGTTACCTT
D | 18 | 306 | B | 3 | ATTACCTCGG | CCGCCTTACT | AGTAAGGCGG
D | 19 | 307 | C | 3 | CGCTGTATAC | GTTGAGGCAG | CTGCCTCAAC
D | 20 | 308 | D | 3 | CTTGCTCACA | TGGCGACCTA | TAGGTCGCCA
D | 21 | 309 | E | 3 | CAACACCTGT | AGAAGCGACA | TGTCGCTTCT
D | 22 | 310 | F | 3 | CAATTGCTCG | CAGGATAATC | GATTATCCTG
D | 23 | 311 | G | 3 | CATAGACAAC | GCTCCTACAG | CTGTAGGAGC
D | 24 | 312 | H | 3 | TTGGTGTCTA | TTCAACAGGT | ACCTGTTGAA
D | 25 | 313 | A | 4 | TATGTCCTGT | CCTCGTCCAT | ATGGACGAGG
D | 26 | 314 | B | 4 | GCCAATTCGT | AGCGTTGGTT | AACCAACGCT
D | 27 | 315 | C | 4 | TAGGCGATCG | CATTCGAACA | TGTTCGAATG
D | 28 | 316 | D | 4 | ATGAGTGTAC | GCTTACCGAC | GTCGGTAAGC
D | 29 | 317 | E | 4 | CCGAAGGATA | TTAGCTTAGG | CCTAAGCTAA
D | 30 | 318 | F | 4 | AGTCCACTGT | CCGACACACA | TGTGTGTCGG
D | 31 | 319 | G | 4 | GCGGCTAATT | ATTCGCTGAT | ATCAGCGAAT
D | 32 | 320 | H | 4 | TCTAACTCAG | CCAAGAGGCA | TGCCTCTTGG
D | 33 | 321 | A | 5 | CAAGCTGAGC | GACGCAGTTC | GAACTGCGTC
D | 34 | 322 | B | 5 | CCAGAGCACA | TGGAACTCGG | CCGAGTTCCA
D | 35 | 323 | C | 5 | TGTACAAGGT | CCACACCAAT | ATTGGTGTGG
D | 36 | 324 | D | 5 | TAGAATGCCT | AGTTCTCGGC | GCCGAGAACT
D | 37 | 325 | E | 5 | TGTCTTACTG | CTTGACGACG | CGTCGTCAAG
D | 38 | 326 | F | 5 | ATGACTAAGC | GAGGTCGCTA | TAGCGACCTC
D | 39 | 327 | G | 5 | ATGTAGGCAA | TCAGTAGCAT | ATGCTACTGA
D | 40 | 328 | H | 5 | GCGAAGAGGT | CTAACGTGGA | TCCACGTTAG
D | 41 | 329 | A | 6 | CGGTGGTTCT | ATGCCAACCG | CGGTTGGCAT
D | 42 | 330 | B | 6 | CTGTCGTTGG | CGGTCGATTC | GAATCGACCG
D | 43 | 331 | C | 6 | TGATCGACAC | GAAGTACAGT | ACTGTACTTC
D | 44 | 332 | D | 6 | CCACCAGCTA | TCTGCAGTAA | TTACTGCAGA
D | 45 | 333 | E | 6 | CACGGTTCGT | CTATCCTAGC | GCTAGGATAG
D | 46 | 334 | F | 6 | AGTGAGAGCT | AACACTCCTT | AAGGAGTGTT
D | 47 | 335 | G | 6 | TTGCATGCGG | CCGAACCTAA | TTAGGTTCGG
D | 48 | 336 | H | 6 | TATACGTGTC | GTCTAGTCGC | GCGACTAGAC
D | 49 | 337 | A | 7 | TGACGCGTTA | TGGATGTACG | CGTACATCCA
D | 50 | 338 | B | 7 | TACAGAACGT | CTACCAGCGT | ACGCTGGTAG
D | 51 | 339 | C | 7 | CTTGTCAGGT | AAGGATTCAG | CTGAATCCTT
D | 52 | 340 | D | 7 | ATCCACAGCG | CGAGGTGTGT | ACACACCTCG
D | 53 | 341 | E | 7 | CCTATCCATC | GTAGACGCTC | GAGCGTCTAC
D | 54 | 342 | F | 7 | ACCGCGAGTA | TCGTCCGTCA | TGACGGACGA
D | 55 | 343 | G | 7 | AAGTTCTGGT | CCGTGATAGG | CCTATCACGG
D | 56 | 344 | H | 7 | ACAGGTATCG | AGGATGACCT | AGGTCATCCT
D | 57 | 345 | A | 8 | ATGACGGATT | CCTCGAGTAC | GTACTCGAGG
D | 58 | 346 | B | 8 | GTCTGAGTAG | GTCACTGAGG | CCTCAGTGAC
D | 59 | 347 | C | 8 | TGCCAGATGT | TACGGTTAGA | TCTAACCGTA
D | 60 | 348 | D | 8 | GCTAAGCATT | CAACGAGAAT | ATTCTCGTTG
D | 61 | 349 | E | 8 | ACAGCATGGT | AATACACCGG | CCGGTGTATT
D | 62 | 350 | F | 8 | ATAGAGACCG | CCGATCCATC | GATGGATCGG
D | 63 | 351 | G | 8 | ATATCGCGTA | GAATCTCGCT | AGCGAGATTC
D | 64 | 352 | H | 8 | TTAAGGAGGT | TGACCGGCAA | TTGCCGGTCA
D | 65 | 353 | A | 9 | CTGTGCGACT | CATGATAGCA | TGCTATCATG
D | 66 | 354 | B | 9 | TCCGTATGCT | AACAGCTTCG | CGAAGCTGTT
D | 67 | 355 | C | 9 | CCATCGATGT | CTAGTGCTTA | TAAGCACTAG
D | 68 | 356 | D | 9 | GTGAGCCGTT | TGTGATACGT | ACGTATCACA
D | 69 | 357 | E | 9 | TGCCGTTAAT | ATGAGCGTAT | ATACGCTCAT
D | 70 | 358 | F | 9 | CGGATGTGGT | CTAGATATGG | CCATATCTAG
D | 71 | 359 | G | 9 | TCGCGTGTTG | CGCTATGCTG | CAGCATAGCG
D | 72 | 360 | H | 9 | CCGCGATCAT | TACTACGTGA | TCACGTAGTA
D | 73 | 361 | A | 10 | CGCGTTATCG | ATGTGGAGGT | ACCTCCACAT
D | 74 | 362 | B | 10 | GTAGCCTCCT | CCATGGCTCA | TGAGCCATGG
D | 75 | 363 | C | 10 | ACTAGACACT | CCAATCACGC | GCGTGATTGG
D | 76 | 364 | D | 10 | CGATTCGTTG | TTAGATCCAG | CTGGATCTAA
D | 77 | 365 | E | 10 | GAAGAGATGT | AGGAATATCG | CGATATTCCT
D | 78 | 366 | F | 10 | AGATCCGACG | CCTCCTATGT | ACATAGGAGG
D | 79 | 367 | G | 10 | CCAGGACATT | TAGAGACACG | CGTGTCTCTA
D | 80 | 368 | H | 10 | ACGTGGCATT | CCAGCTCAGT | ACTGAGCTGG
D | 81 | 369 | A | 11 | AAGCAGGACG | ATGGCTCATA | TATGAGCCAT
D | 82 | 370 | B | 11 | ACGAGTCGGT | CGGAGTGAAG | CTTCACTCCG
D | 83 | 371 | C | 11 | AGTGTACGCG | TACCTATGGT | ACCATAGGTA
D | 84 | 372 | D | 11 | ACCGACCATT | ATGAGACAGT | ACTGTCTCAT
D | 85 | 373 | E | 11 | TTGCTAACGT | CTAAGAGTTG | CAACTCTTAG
D | 86 | 374 | F | 11 | CTTGATACTG | TAACCGTATG | CATACGGTTA
D | 87 | 375 | G | 11 | CTGGATAAGT | AGAGTCCATG | CATGGACTCT
D | 88 | 376 | H | 11 | ATAGCTTACG | CTAGACCGCA | TGCGGTCTAG
D | 89 | 377 | A | 12 | GTCCATGAGT | TATGGCTTGT | ACAAGCCATA
D | 90 | 378 | B | 12 | ACTCCAGTCG | CGTTGTTCCT | AGGAACAACG
D | 91 | 379 | C | 12 | TCTCAGCACG | CCGACATTAG | CTAATGTCGG
D | 92 | 380 | D | 12 | ATCGTGATGT | TGTGAAGGCA | TGCCTTCACA
D | 93 | 381 | E | 12 | ACGCAATCCG | AGCATCGTCT | AGACGATGCT
D | 94 | 382 | F | 12 | GAGATCGGCT | CCGACTAGGA | TCCTAGTCGG
D | 95 | 383 | G | 12 | CTACGTCTCG | AACATTACCG | CGGTAATGTT
D | 96 | 384 | H | 12 | CTCAGGCTGT | CCTAATTCGT | ACGAATTAGG
QIAGEN® shall not be held liable in connection with the use of this tool by any user. Proper testing/validation by the respective user is recommended prior to its use. By using this tool, you expressly accept the aforementioned exclusion of QIAGEN's liability.
For up-to-date licensing information and product-specific disclaimers, see the respective QIAGEN kit handbook or user manual. QIAGEN kit handbooks and user manuals are available at www.qiagen.com or can be requested from QIAGEN Technical Services or your local distributor.
Trademarks: QIAGEN®, Sample to Insight® (QIAGEN Group); HiSeq®, iSeq®, MiSeq®, MiniSeq®, NextSeq®, NovaSeq® (Illumina, Inc.). Registered names, trademarks, etc. used in this document, even when not specifically marked as such, are not to be considered unprotected by law.
09/2022 PROM-17090-002 © 2022 QIAGEN, all rights reserved.
Ordering www.qiagen.com/shop ¦ Technical Support support.qiagen.com ¦ Website www.qiagen.com